## Sheet1
Supplemental_Table_S2 Integrated test of metaRUpore using nanopore reads derived from the first one-hour normal sequencing of different sample types. Unless otherwise stated, reads produced in the 1st hour run was extracted based on the sequencing summary file. The script has been tested using 10 threads on a local workstation (CPU: Xeon(R) 5220R 2.20 GHz × 48 cores with DDR4 64 Gb × 16 Memory).
Sample tested | Flow cell chemistry | Kit for library preparation | Total data size, bp | Reads No. | Average read length, bp | Time needed to finish metaRUpore run
TADa reactor | R9.4.1 | Ligation sequencing kit SQK-LSK109 | 400642339 | 96068 | 4170 | 1'24''
Human gut | R9.4.1 | Ligation sequencing kit SQK-LSK109 | 548063306 | 233775 | 2344 | 2'06''
Permafrost top soil | R9.4.1 | Ligation sequencing kit SQK-LSK109 | 172011510 | 240,000* | 716 | 56''
Receiving Water | R9.4.1 | Rapid Barcoding Sequencing (SQK-RBK004) | 93425864 | 15181 | 6154 | 34''
HSP STPb Influent | R9.4.1 | Ligation sequencing kit SQK-LSK109 | 227,873,682 | 137,317 | 1659 | 1'04''
Activated sludge | R9.4.1 | Ligation sequencing kit SQK-LSK109 | 606,311,723 | 112,172 | 5405 | 1'50''
a: TAD, thermophilic anaerobic digestion b: HSP STP, Hospital sewage treatment plant *: fasta5 files generated in the 1st hour was used to extract fasta for this sample.